## Summary Sheet
Estimation for Maintenance Work, UCEP Cheyne Tower, Dhaka
SUMMARY OF MAINTENANCE WORK
SL No | Item Description | Amount in Taka | Remarks
1 | PART-1 (CIVIL WORK) | 0 | Maintenance work
2 | PART-2 (PLUMBING WORK) | 0 | Maintenance work
3 | PART-3 (SOLAR SYSTEM MAINTENANCE WORK) | 0 | Maintenance work
4 | PART-4 (CANOPY WORK OVER THE MAIN GATE) | 0 | Maintenance work
5 | PART-5 (FIRE SAFETY AND SECURITY SYSTEM INCLUDING FIRE SAFETY, SECURITY, EVALUATION PLAN AND APPROVAL) | 0 | Maintenance work
6 | PART-6 (Construction of two additional wash room at 4th floor or any other floor), AS REQUIRED OF GAZI GROUP | 0 | New construction item of work
| Total Amount (including VAT & AIT) | 0
In word:

## PART-1 (CIVIL WORK)
PART-1 (CIVIL WORK)
Sl. No. | Item Description | Unit | Quantity | Unit Rate in Taka | Amount in Taka | Remarks
1 (PWD SoR 2018-item 20.4 | Supplying, fitting and fixing stainless steel (SS) stair of standard height as of existing design/ maintenance work (As per need base all complete and accepted by the Engineer or other, Location: main stair | sft | 45 |  | 0
2 (PWD SoR 2018 item 6.13.1) | Floor tiles work at main stair area size: 2'-0'x1'-0" or any type , Colour and size as of existing tiles or equivalent , Location: Basement-2 to 5th floor level | sft | 70 |  | 0
3 (PWD SoR 2018 item 6.1.1 and 6.2.3) | Floor tiles work GP (homogeneous)/equivalent for common location or other area at 5th floor level
3.1 | Size: 1'-0"x1'-0" | sft | 33.34 |  | 0
3.2 | Size: 2'-0"x2'-0" | sft | 26.667 |  | 0
4 (PWD SoR 2018 item 6.16.1) | Pavement Tiles work on roof top area, size: 1'-0"x1'-0" as of existing pavement tiles or equivalent | sft | 295 |  | 0
5 (PWD SoR 2018 item 6.20.2/ other) | Granite work on lift wall and other location at different level matching with existing granite or equivalent , Size: various | sft | 79.167 |  | 0
6 (PWD SoR 2018 item 6.18.1/ other) | Granite work on ground floor and other location at different level matching with existing granite or equivalent , Size: 2'-6"x2'-6" or any type , Colour: as per requirement | sft | 92.5 |  | 0
7 (PWD SoR 2018 item 6.2.3) | Floor tiles work GP (homogeneous)/equivalent for 1st, 2nd, 3rd ,4th floor level or any other level, colour and size as of existing tiles/equivalent (Size: 2'-0"x2'-0" or any sizes) | sft | 595.84 |  | 0
8 (PWD SoR 2018 item 16.1.2) | Exterior premium acrylic emulsion paint of approved best quality and color with high performance against dirt picking tendency and efflorosence resistence properties along with water resisting properties and resistance properties against fungi, fading and flaking from authorized local agent of the manufacturer (Berger coat anti-dirt long life/Elite master coat/ Asian apex ultima or equivalent brand) in a sealed container; applying to exterior surface with surface preparation including cleaning drying, making free from dirt, grease, wax, removing all chalked and scaled materials, fungus, mending good the surface defects using sand paper and necessary scaffolding; applying 1 coat of exterior sealer of specified brand on prepared surface; then applying 1 coat of exterior putty of specified brand for levelling, spot filling, crack filling and cutting by sand paper/zero water paper; finally applying 2 coats of exterior emulsion paint spreading by brush/roller/spray & necessary scaffolding etc. upto desired finishing, elapsing specified time for drying or recoating; all complete in all floors and accepted by the Engineer-in-charge. (at any location and level) | sft | 13238.41 |  | 0
9 (PWD SoR 2018 item 16.2.3) | Interior super premium acrylic emulsion painting (odorless) of approved best quality and colour delivered from authorized local agent of the manufacturer(Berger breath easy or equivalent brand) in a sealed container; applying to interior wall and ceiling with surface preparation including cleaning drying, making free from dirt, grease, wax, removing all chalked and scaled materials, fungus, mending good the surface defects using sand paper and necessary scaffolding; applying 1 coat of interior sealer of specified brand on prepared surface; then applying 1 coat of interior putty of specified brand for levelling, spot filling, crack filling and cutting by sand paper/zero water paper, finally applying 2 coats of interior emulsion paint spreading by brush/roller/spray & necessary scaffolding etc. upto desired finishing, elapsing specified time for drying or recoating; all complete in all floors accepted by the Engineer-in-charge.(at any location and level but not consider the basement 1, 2 roof area) | sft | 34960 |  | 0
10 (PWD SoR 2018 item 16.3.2) | Premium synthetic enamel paint of approved best quality and colour delivered from authorized local agent of the manufacturer (Berger robbialac supergloss synthetic enamel/Elite lucky seven/ Asian apcolipe premium paint or equivalent brand) in a sealed container, having high water resistance, high bondibility, flexiblity property; using specified brand thinner applying to metallic or wooden surface by brass /roller /spray in two coats over single coat anti-corrosive coating including cleaning, drying, making free from dirt, grease, wax, removing all chalked and scaled materials, all complete in all floors and accepted by the Engineer-in-charge. | sft | 983.3 |  | 0
11 (PWD SoR 2018 item 16.12) | White washing by three coats, lime mixture prepared at least 12 hours before use, slacking stone lime, supplying of gums, blue, stirring thoroughly, removing the floating materials from the mixer, surface cleaning to free from all foreign materials before application of each coat, applying one vertical and one horizontal wash for each coat andsuccessive coat is to be applied after drying up of previous coat including hair brass, providing necessary scaffolding and cleaning plinth, floors, doors, windows, portions and ventilators by washing, rubbing, oiling if necessary, after white wash for all floors including cost of water, electricity and other charges etc. complete in all respect in all floors andaccepted by the Engineer-in-charge. | sft | 15291.5 |  | 0
| Total Amount |  |  |  | 0
| Total Amount (including Vat & AIT) |  |  |  | 0

## PART-2 (PLUMBING WORK)
PART-2 (PLUMBING WORK)
Sl. No. | Item Description | Unit | Quantity | Unit Rate in Taka | Amount in Taka | Remarks
1. (PWD SoR 2018 Sl - 952 | 110 mm dia uPVC pipe or any sizes | rft | 140 |  | 0
2. (PWD SoR 2018 Sl - 954 | 110 mm dia uPVC plain bend 90 or any sizes | each | 8 |  | 0
3. (PWD SoR 2018 Sl - 955 | 110 mm dia uPVC long trap or any sizes | each | 12 |  | 0
4. (PWD SoR 2018 Sl - 961 | 150 mm dia uPVC for under-ground or any sizes | ft | 125 |  | 0
5. (PWD SoR 2018 item 15.2) | Minimum inner-and outer surface plaster work, finishing the corner and edges including washing of sandcleaning the surface, curing at least for 7 days, cost of water, electricity, scaffolding and,mother charges etc. all complete in all respect as per drawing and accepted by the 12 mm thick cement sand (F.M. 1.2) plaster (1:4) with fresh cement to bothEngineer-in-charge. (Cement: CEM-II/A-M) in all floor. in any location and level | sft | 720 |  | 0 | (Unit Rate including old plaster removing by proper way)
6. (PWD SoR 2018 item 16.12) | White washing by three coats, lime mixture prepared at least 12 hours before use, slacking stone lime, supplying of gums, blue, stirring thoroughly, removing the floating materials from the mixer, surface cleaning to free from all foreign materials before application of each coat, applying one vertical and one horizontal wash for each coat andsuccessive coat is to be applied after drying up of previous coat including hair brass, providing necessary scaffolding and cleaning plinth, floors, doors, windows, portions and ventilators by washing, rubbing, oiling if necessary, after white wash for all floors including cost of water, electricity and other charges etc. complete in all respect in all floors wash room's ceilling and walls and accepted by the Engineer-in-charge. | sft | 1280 |  | 0
7. (PWD SoR 2018 item 16.12) | Interior supand colour delivered from authorized local agent of the manufacture r(Berger breath easyer or equivalent bran removing all chalked and scaled materials, fungus, mending good the surface defectsd) in a sealed container; applying to interior wall and ceiling withpresurface preparation including cleaning drying, making free from dirt, grease, wax,mium acrylic emulsion painting (odorless) of approved best qualityusing sand paper and necessary scaffolding; applying 1 coat of interior sealer of specifiedbrand on prepared surface; then applying 1 coat of interior putty of specified brand forlevelling, spot filling, crack filling and cutting by sand paper/zero water paper, finallyapplying 2 coats of interior emulsion paint spreading by brush/roller/spray & necessaryscaffolding etc. upto desired finishing, elapsing specified time for drying or recoating; allcomplete in all floors accepted by the Engineer-in-charge. | sft | 1280 |  | 0
8 (PWD SoR 2018 item 6.1.1 and 6.2.3) | Floor tiles work GP (homogeneous)/equivalent for common location or any wash room, Size: 1'-0"x1'-0" or any required sizes | sft | 75 |  | 0
9 (PWD SoR 2018 item 18.2.1 | Supplying, fitting and fixing gypsum board ceiling of 9 mm thick board laminated by mechanical hot press with milk white PVC membrane, framing by aluminium T-bar of natural anodized finish suspended in 600 mm x 600 mm grid from ceiling by 12 SWG double ply wire, fixed to the ceiling by rowel plug, screws, hooks, nails etc., maintaining straight lines and desired finished level at bottom face including vertical wooden strut as required, making holes in slabs or beams by electric drill machine and mending good the damages, if any during execution of the work, also including cost of all materials,electricity, accessories, scaffoldings, labour for installation, screws, nails, etc. all complete as per drawing, design and accepted by the Engineer-in-charge. (Wash room or any other location) | sft | 110 |  | 0
10 | uPVC and PPR pipe of any required diameter and sizes | LS
11 | Plumbing Fixtures. Fittings and any type of accessories-socket, plain bend, clamp, flushing instruments etc (PPR, uPVC or any other types) | LS
12 | Push shower, gratings, Bib cork and any other plumbing materials | LS
13 | Contractor's / labour charge | LS
| Total Amount |  |  |  | 0
Total Amount (including Vat & AIT)

## PART-3 (SOLAR SYSTEM MAINTENCE
PART-3 (SOLAR SYSTEM MAINTENANCE WORK)
Sl.No | Item Description | Unit | Quantity | Unit Rate in Taka | Amount in Taka | Remarks
1 | 1X 1c 10 RM cable, Brand: BRB/SQ/BBS/ equivalent , Origin: Bangladesh | rm | 120 |  | 0 | Priority Level : High
2 | 1X 1c 4 RM cable, Brand: BRB/SQ/BBS/ equivalent , Origin: Bangladesh | rm | 110 |  | 0
3 | PVC pipe, fittings, cable lux , cable tray and others accessoriec, Brand: BRB/National polymer/ RFL/MEP/ eqivalent, Origin: Bangladesh | lot | 1 |  | 0
4 | On Grid Inverter 3.5 KW, Brand: Sunway inverter or equivalent Origin: Germany, China, India or other | nos | 1 |  | 0
5 | Solar panel servicing, re-wiring work, energy meter installation, testing commisioning or any type of work for active and testing the whole system including contractor/vendor charges | job | 1 |  | 0
| Total Amount |  |  |  | 0
| Total Amount (including Vat & AIT) |  |  |  | 0

## PART-4 (CANOPY WORK)
PART-4 (CANOPY WORK OVER THE MAIN GATE)
Sl.No | Item Description | Unit | Quantity | Unit Rate in Taka | Amount in Taka | Remarks
1 | Supplying, Fitting and fixing of Tempered glass (thickness 15.0mm) or any upper sizes including necessary accessories | sft | 268 |  | 0
2 | Build-up section like rafter, internal beam including base plate , joint plate, girt cleat with color oxide primer ASTM A-572, Grade: 50 or eqivalent including all charges | kg | 1020 |  | 0
3 | High strength structural nut bolt, Grade: 8.8 or equivalent | kg | 75 |  | 0
4 | Supply and fixing of cable/wire bracing and proper positioning providing necessary anchors safety, cables, wires, ties etc. by standard anchoring and welding, screw, nut-bolts etc, as per design and all complete and accepted by the Engineer-in-charge | job | 1 |  | 0
5 | Two coat best quality enamel paint | kg | 880 |  | 0
6 | Installation Charge/contractor bill | L/S
| Total Amount |  |  |  | 0
| Total Amount (including Vat & AIT) |  |  |  | 0
Note: The estimate amount can be changed based on the actual working design of canopy.

## PART-5 (FIRE SAFETY WORK)
PART-5 (FIRE SAFETY AND SECURITY SYSTEM INCLUDING FIRE SAFETY, SECURITY, EVALUATION PLAN AND APPROVAL)
Sl.No | Item Description | Unit | Quantity | Unit Rate in Taka | Amount in Taka | Remarks
Supply of fire hydrant system materials and servicing
1 | Pressure gauge (working pressure 0-300 psi, Brand: Mach/equivalent ,Origin : China or other | nos | 3 |  | 0
2 | Ball valve: Ball valve BSP double female threaded, brass nickel plated, Brand: Mach/equivalent, Origin: China or Other |  |  |  | 0
| 2 (a) 50 mm | nos | 4 |  | 0
| 2 (b) 25 mm | nos | 3 |  | 0
| 2 (c) 15 mm | nos | 3 |  | 0
3 | Auto air vent valve-25mm dia, Brand: Mach/equivalent, Origin: China/other | nos | 2 |  | 0
4 | Water flow switch: Brand: Mach/equivalen, |  |  |  | 0
| 4 (a) 150mm | nos | 1 |  | 0
| 4 (b) 100 mm | nos | 2 |  | 0
5 | Servicing disel engine, fire pump, electric motor driven fire pump jack pump and common controller, rated point: 750 gpm @ 9 bars & fire hydrant system | set | 1 |  | 0
| Sub-total amount : 1 |  |  |  | 0
Supply of fire alarm system
6 | Addressable fire alarm panel (2 loop), Brand: Shield, Origin: USA/Mexico/ equivalent, certification and FM | nos | 1 |  | 0
7 | Addressable smoke detector with base , Brand: Shield, Origin: USA/Mexico/ equivalent, certification and FM | nos | 90 |  | 0
8 | Addressable multi detector with base, Brand: Shield, Origin: USA/Mexico/ equivalent, certification and FM | nos | 8 |  | 0
9 | Addressable manual call points, Brand: Shield, Origin: USA/Mexico/ equivalent, certification and FM | nos | 21 |  | 0
10 | Sounder cum strove,Brand: Shield, Origin: USA/Mexico/ equivalent, certification and FM | nos | 20 |  | 0
11 | Sounder, Brand: Shield, Origin: USA/Mexico/ equivalent, certification and FM | nos | 10 |  | 0
12 | Addressabe input module, Brand: Shield, Origin: USA/Mexico/ equivalent, certification and FM | nos | 20 |  | 0
13 | Addressabe output module, Brand: Shield, Origin: USA/Mexico/ equivalent, certification and FM | nos | 15 |  | 0
14 | UL listed 2x 1.5 (2 core ) RM, Fire alarm cable , China/ equivalent | rm | 2500 |  | 0
15 | UL listed 2x 2.5 (2 core ) RM, Fire alarm cable , China/ equivalent | rm | 1500 |  | 0
16 | PVC pipe, Elbow, Tee, Socket, Royal plug, Screw etc, Brand: RFL/equivalent, Origin: Bangladesh or other | rm | 4000 |  | 0
17 | Installation, testing, commissioning of fire alarm system
| 17 (a) Cable wiring for fire alarm system | rm | 4000 |  | 0
| 17 (b) Device installations work | pcs | 185 |  | 0
| 17 (c) (AS BUILT DRAWING) | job | 1 |  | 0
| 17 (d) ( TESTING and COMMISSIONING) | job | 1 |  | 0
| Sub- total amount: 2 |  |  |  | 0
Supply of fire door and other accessories
18 | Size: 900mm X 2100mm Single leaf fire door with vision panel including the following accessories: Door frame, door hings & screw, door closer, vertical panic bar with vertical thai rod, horizontal panic bar, door lock, door coordinator, smoke seal, anchor bolt and cup and others necessary accessories, Brand; SMAIL/equivalent, Origin: Bangladesh or other | pcs | 6 |  | 0
19 | Size: 900mm X 2100mm Single leaf fire door with vision panel including the following accessories: Door frame, door hings & screw, door closer, vertical panic bar with vertical thai rod, horizontal panic bar, door lock, door coordinator, smoke seal, anchor bolt and cup and others necessary acessories, Brand; SMAIL/equivalent, Origin: Bangladesh or other | pcs | 2 |  | 0
20 | Size: 900mm X 2100mm Single leaf fire door with vision panel including the following accessories: Door frame, door hings & screw, door closer, vertical panic bar with vertical thai rod, horizontal panic bar, door lock, door coordinator, smoke seal, anchor bolt and cup and others necessary acessories, Brand; SMAIL/equivalent, Origin: Bangladesh or other | pcs | 1 |  | 0
21 | Installation, testing etc | job | 9 |  | 0
| Sub-total amount: 3 |  |  |  | 0
SUPPLY, OF GAS SUPPRESSION SYSTEM (FM-200)
22 | FM-200 HFC227ea (UL Listed)-25 Bar For Sub Station | set | 1 |  | 0
23 | UL Listed Conventional Control Panel | nos | 1 |  | 0
24 | C/W: Battery Sel LED ACID 12V 7AH | nos | 2 |  | 0
25 | UL listed Smoke Detector C/W BASE | nos | 2 |  | 0
26 | UL listed Heat Detector C/W BASE | nos | 2 |  | 0
27 | UL listed Heat Alarm belt 6''. | nos | 2 |  | 0
28 | UL listed Abort Switch | nos | 1 |  | 0
29 | UL listed MANUAL PULL STATION | nos | 1 |  | 0
30 | FLASHING LIGHT DOUBLE 24V DC W/PROOF | nos | 1 |  | 0
31 | EVACUATE SIGN | nos | 1 |  | 0
32 | WARNING SIGN | nos | 2 |  | 0
33 | MS Pipe & fittings, fixing work | lot | 1 |  | 0
34 | Installation, Testing, commissioning, Caballing & Documentation and other work. | job | 1 |  | 0
| Sub-total amount : 4 |  |  |  | 0
PREPARATION & APPROVAL(BFSCD) OF FIRE SAFETY PLAN & PREPARATION EVALUATION PLAN
Sl.No | Item Description | Unit | Quantity | Unit Rate in Taka | Amount in Taka | Remarks
35 | a. Preparation & Approval of fire safety plan(mutual/booklet) | job | 1 |  | 0
b. Preparation & obtain NOC of Fire safety layout drawings showing Fire Protection, Detection & Suppression items with Structural, Architectural, Single Line Diagram (SLD), Lightning protection, system. Project Inspection from Bangladesh Fire Service & Civil Defense. Approval of NOC from Bangladesh Fire Service & Civil Defense, government fees & office miscellaneous cost.
c. Site inspections: Information and data acquisition for Fire Safety Plan, Checklist verification & recommendation, For any other issue.
d. Preparation of Evacuation Plan and others
| Sub-total amount : 5 |  |  |  | 0
SUMMARY OF FIRE SAFETY AND SECURITY SYSTEM INCLUDING FIRE SAFETY, SECURITY, EVALUATION PLAN AND APPROVAL
SL No | Item Description | Amount (Taka) | Remarks
1 | Supply of fire hydrant system materials and servicing | 0
2 | Supply of fire alarm system | 0
3 | Supply of fire door and other accessories | 0
4 | SUPPLY, OF GAS SUPPRESSION SYSTEM (FM-200) | 0
5 | PREPARATION & APPROVAL(BFSCD) OF FIRE SAFETY PLAN & PREPARATION EVALUATION PLAN | 0
Total amount (Sub-total 1 to 5) |  | 0
| Total amount including VAT & AIT | 0

## PART-6 New Two Wash Room
PART- 06: Construction of two additional wash room at 4th floor or any other floor (AS REQUIRED OF GAZI GROUP), New Item of Work
TWO ADDITIONAL WASH ROOM AT 4TH FLOOR
Sl.No | Item Description | Unit | Quantity | Unit Rate in Taka | Amount in Taka | Remarks
1 | Dismantling work of brick wall, false celling, RCC ceiling, RCC slab and other, in any other location including all necessary hole, grove work for plumbing and any type of purposes. | job | 1 |  | 0
2 (PWD SoR 2018 Item- 26.3.4) | Supplying, fitting and fixing of european /any good type glazed porcelain commode of white or ivory color and size of approx. 340 mm x 730 mm x 785 mm or any other, 36.75 kg of weight including plastic seat cover with soft closing, flush system, mending good the damages and fitting, fixing, finishing etc.complete with all necessary fittings and connection approved and accepted by the Engineer- in- charge and other. | nos | 2 |  | 0
3 PWD SoR 2018, Item-26.25.1) | Supplying, fitting and fixing of special toilet paper holder with cover of size (150 mm x 150 mm x 126 mm) including making drills in walls and mending good the damages with cement mortar (1:4) etc. all complete approved and accepted by the Engineer- in- charge. white or as per requirement | nos | 2 |  | 0
4 (PWD SoR 2018, SL-847) | 125mmx125mm /150 mmX150mm size stainless-steel floor-grating | nos | 2 |  | 0
5 (PWD SoR 2018, SL-859) | Liquid soap dispenser (push-up type) as per required | nos | 2 |  | 0
6 (PWD SoR 2018, item-26.20) | Supplying, fitting and fixing of super quality 600 mm x 125 mm coloured glass shelf having 5 mm thickness with fancy C.P. brackets, screws and frames including making holes in walls and mending good the damages with cement mortar (1:4) etc. all complete approved and accepted by the Engineer- in- charge. | nos | 2 |  | 0
7 (PWD SoR 2018, Item -26.10.1.3) | Supplying of glazed vitreous W/H wash basin including pedastal of size 660 mm x 545 mm x 850 mm or any , 29kg of weight including fitting, fixing the same in position with heavy type C.I. brackets, 30 mm dia PVC waste water pipe with brass coupling (not exceeding 750 mm in length), 12mm plastic lead (connection) pipe with brass coupling, basin waste with chain plug including making holes in walls and floors and fitting with wooden blocks, screws and mending good the damages, finishing etc. all complete approved and accepted by the Engineer- in- charge. Colour; special or any colour | nos | 2 |  | 0
8 (PWD sor 2018, Item -26.39.1) | Supplying, fitting and fixing of PP-R Pipe meeting the perfomance & long-term strength requirements as per DIN 8077 /78 or ASTM F 2983 including nipple, elbow, reducers, Tee, end cap, plug, socket etc as per manufacturer instruction. all complete accepted by the Engineer- in- charge. (12 mm/19mm/25mm/38mm or any other dia, minimum wall thickness 2.8 mm, sustaining minimum water pressure PN 16,standard dimension ratio (SDR) 7.4) | meter | 118 |  | 0
9 (PWD SoR 2018, Item-4.16) | 125 mm brick works with first class bricks with cement sand (F.M. 1.2) mortar (1:4) and making bond with connected walls including necessary scaffolding, raking out joints, cleaning and soaking the bricks for at least 24 hours before use and washing of sand, curing at least for 7 days in all floors including cost of water, electricity and other charges etc. all complete and accepted by the Engineer-in-charge. (Cement: CEM-II/A-M) | sft | 182.75 |  | 0
10 (PWD SoR 2018, Item-15.1) | Minimum 12 mm thick cement sand (F.M. 1.2) plaster (1:4) with fresh cement to both inner-and outer surface of wall, finishing the corner and edges including washing of sand, cleaning the surface, curing at least for 7 days, cost of water, electricity, scaffolding and other charges etc. all complete in all respect as per drawing and accepted by the Engineer-in-charge. (Cement: CEM-II/A-M) ground floor. | sft | 472 |  | 0
11 (PWD SoR 2018, Item-6.14.1) | GP glazed / unglazed homogenous floor tiles (400 mm x 400 mm or any sizes) | sft | 128 |  | 0
12 (PWD SoR 2018, Item-6.6.3) | Wall tiles more than 250 mm x 400 mm & less than or equal to 300 mm x 600 mm in sizes or any sizes | sft | 268 |  | 0
13 | False ceiling work by rcc or any tye of materials in cluding all materials and charges | sft | 125 |  | 0
14 (PWD SoR 2018, item-16.2.1) | Interior standard emulsion paint of approved best quality and colour delivered from authorized local agent of the manufacturer (Berger robbialac plastic emulsion/Asian apcolite plastic emulsion or equivalent brand) | sft | 118 |  | 0
15 | Any types of pipes,plumbing fittings, fixtures and plumbing accessories | lot | 1 |  | 0
16 | Plumber and other masons | nos | 15 |  | 0
17 | Miscellaneous work (Any types of work during construction) if necessary | lot | 1 |  | 0
| Sub-total amount |  |  |  | 0
| Total amount including VAT & AIT |  |  |  | 0
In word: