## Consumbale materials
Consumable Item
Sl. | Name of the Item | Specification | Required Quantity | Unit Measurement | Unit Price | Total Price
[5 empty] | BDT | BDT
1 | Acti 9 DB 3 tier 36 modules DD | 36 modules DD, completed | 40 | Nos
2 | Acti 9 RCCB xID 2P 40A 30mA AC-type | 40A 30mA AC-type | 40 | Nos
3 | Acti 9 MCB xC60 1P 6A C 10000A | 6A C 10000A | 32 | Nos
4 | Acti 9 MCB xC60 1P 10A C 10000A | 10A C 10000A | 32 | Nos
5 | Acti 9 MCB xC60 1P 16A C 10000A | 16A C 10000A | 32 | Nos
6 | Acti 9 MCB xC60 1P 25A C 10000A | 25A C 10000A | 60 | Nos
7 | 3P EVLK CONTACTOR 9A AC3 220VAC | 9A AC3 220VAC | 60 | Nos
8 | Acti9 ITL16A 2NO 230/240VAC 50-60HZ 110V | 230/240VAC 50-60HZ 110V | 60 | Nos
9 | IC2000d outdoor (18 mm) | 18 mm | 60 | Nos
10 | CEILING MOUNT 360? OCCUPANCY S | 360 Degree | 60 | Nos
11 | 6A BELLPUSH SWITCH 2 MODULE WH | Schneider Electric Opale White Bell Push Switch 6 A, 2 Module (Ref No. : X1025WH) | 80 | Nos
12 | 6A 1-WAY SWITCH - WH | Schneider | 80 | Nos
13 | 6A 2-way Switch WH | Schneider | 80 | Nos
14 | 20A DP Switch with Indciator WH | Schneider | 80 | Nos
15 | 6A 3 Pin SO with Shutter, WH | Schneider | 80 | Nos
16 | 6A/16A 3-Pin Socket Outlet WH | Schneider | 160 | Nos
17 | ELECTRONIC STEP FR FOR ALPHA WH | Schneider | 320 | Nos
18 | Opale 3 M Universal Grid & Cover Frame | Schneider | 160 | Nos
19 | Opale 4M Grid & Cover Frame Combined | Schneider | 40 | Nos
20 | 8M GF AND 8M CF-LINEAR | Schneider | 160 | Nos
21 | Blank Off Cover WH | Schneider | 160 | Nos
22 | MCB | 4P, 25A /32A , ABB/Schneider | 40 | Nos
23 | MCB Box | L4, 25A /32A , GI/SWG-20 with cover | 40 | Nos
24 | Drill Bit Set | HSS Twist Drill Bits Set (12 Pcs),SS | 20 | Set
25 | PVC Pipe bending spring | DASI Pvc Pipe Bending Wire Tube Bending Tool Curve Spring Manual Pvc Pipe Bender House Decoration Extension Spring | 20 | Nos
26 | Perforated Cable Tray | 100x24 mm | 100 | Nos
27 | PVC Casing-Capping, 100x50mm | PVC Casing-Capping, 100x50mmX 2M=100/ per pice | 100 | Mtr
28 | PVC Casing-Capping, 50mm | PVC Casing-Capping, 100x50mmX 2M=70/ per pice | 100 | Mtr
29 | PVC Casing-Capping, 25mm | PVC Casing-Capping, 100x50mmX 2M=50/ per pice | 100 | Mtr
30 | PVC Conduit, High density, 19mm | Walton 3/4 Inch PVC Conduit Pipe grey X3 Meter= 90/ per pice | 148 | Mtr
31 | GI Conduit, 19 mm | Shain RFL | 28 | Mtr
32 | Saddles, 19 mm | Tin U type. | 2000 | Nos
33 | PVC Junction Box x 19mm, 1 way | RFL | 200 | Nos
34 | PVC Junction Box 19mm, 2 way | RFL | 200 | Nos
35 | PVC Junction Box 19mm, 3 way | RFL | 200 | Nos
36 | PVC Junction Box 19mm, 4 way | RFL | 200 | Nos
37 | Ceiling Plate | Abonite sheet,4"X4'' | 200 | Nos
38 | Batten Holder | H.P 5A,250v | 200 | Nos
39 | Cable tie, 150mm | Kitty white color,100 pcs/pkt | 20 | Pkts
40 | Connector “Dominoes” 4mm2 | Cable lux- 4mm | 2000 | Nos
41 | 1- Module Box with surface plate, PVC | 1 point swith board,MEP/ RFL | 100 | Nos
42 | 3- Module Box with surface plate, PVC | 2 point switch board,MEP/RFL | 480 | Nos
43 | 4-Module Box, PVC | 4 point swith board, MEP/RFL | 80 | Nos
44 | 8-Module Box, PVC | 8 point switch board,MEP/RFL | 80 | Nos
45 | Wooden Screws, 3/4" | Star head , SS | 5000 | Nos
46 | Self drilling screw | 1'' & 1.5'' | 1000 | Nos
47 | PVC wire 1.5 sq. mm Red | BRB | 20 | Coils
48 | PVC wire 1.5 sq. mm yellow-green | BRB | 20 | Coils
49 | PVC wire 2.5 sq. mm Red | BRB | 12 | Coils
50 | PVC wire 2.5 sq. mm black | BRB | 12 | Coils
51 | PVC wire 2.5 sq. mm yellow-green | BRB | 4 | Coils
52 | PVC wire 4 sq. mm Red | BRB | 8 | Coils
53 | PVC wire 4 sq. mm black | BRB | 8 | Coils
54 | PVC wire 4 sq. mm yellow-green | BRB | 4 | Coils
55 | Security padlock for padlocking + Security labels | TOLSEN Industrial Combination Brass Padlock with 3 code wheels 30mm(115g) 55123 | 4 | Nos
56 | 2 security chain + 4 poles | Heavy Duty stainless steel Bike chain lock Bicycle lock security Padlock universal for Motor bike, Motor cycle gate fence grage glass door Tools Security lock | 4 | Nos
| Total Amount: |  |  |  |  | 0
Grand Total