## BoQ for LPS of UCEP
UCEP Bangladesh
Head Office
BoQ for Lightning Protection Sysetem (LPS), HQ, UCEP Bangladesh
Sl. No. | Item Description | Unit | Quantity | Unit Rate in Taka | Amount in Taka | Remarks
1 | Supply of Lightning Arrester system with following materials
a. | Lightning Arrester- OPR-60. Brand: ABB, Origin: France with counter or equivalent | nos | 3
b. | 20'x50mm or 75mm dia G.I pipe(Dimond), 5'x1.25mm dia GI pipe (Dimond)/equivalent | set | 3
c. | Base plate, Guy wire with necessary accessories (Set on Steel Roof) | lot | 3
d. | 50mm² BYA Cables-BRB/BBS or equivalent | lot | 3
2 | Earthing work: Supply, and comissioning of earthing system to get earth resistance below 10 Ohm by:
a. | 120 rft boring by 40mm dia G.I pipe appro. 40'-0" | set | 3
b. | 10mm copper 120 rft | set | 3
c. | Earth Inspection PIT(450x450x450)mm with cover | set | 3
d. | Equipotential earthing bar with box | set | 3
3 | Supply of SPD into main and server DB (Existing) Brand: ABB | set | 2
4 | Miscellaneous (any type of necessary work during implementation)
5 | Installation, testing and other charges
| Total Amount |  |  |  | 0
| Total Amount including Vat & AIT |  |  |  | 0
In Words: